## ADPK
Akara Swiss Diversity Property Fund PK
REIDA CO2e REPORT 2025
NOTES: BALANCE SHEET – ENTIRE PORTFOLIO «LOCATION-BASED»
Energy balance sheet
|  | 2021 | 2022 | 2023 | 2024
| Expressed in | OCP | OCP | OCP | OCP
# Total area of property | Number # | 100 | 123 | 127 | 134
# Relevant area of property | Number # | 88 | 110 | 107 | 119
Total area RFS1 | m2RFS | 255609 | 307703 | 317309 | 371584
Relevant area RFS1 | m2RFS | 240238 | 282184 | 278334 | 325639
Total area ERA1 | m2ERA | 298679 | 360966 | 372604 | 437300
Relevant area ERA1 | m2ERA | 280074 | 330624 | 326007 | 382255
Ratio of ERA/RFS |  | 1.17 | 1.17 | 1.17 | 1.17
Coverage level | ERA % | 93.7707 | 91.6 | 87.5 | 87.4
Total energy consumption | MWh/a | 27254 | 34230 | 33339 | 36608
Building total energy intensity | kWh/m2ERA | 97.3084 | 103.5 | 102.3 | 95.8
Fuels | MWh/a (%) | 18 772 (68.9%) | 21 028 (61.4%) | 20 683 (62.0%) | 18 958 (51.8%)
Heating oil | MWh/a (%) | 6 583 (24.2%) | 7 090 (20.7%) | 7 503 (22.5%) | 6 142 (16.8%)
Heating gas | MWh/a (%) | 12 189 (44.7%) | 13 593 (39.7%) | 13 180 (39.5%) | 12 815 (35.0%)
Biomass | MWh/a (%) | 0 (0.0%) | 345 (1.0%) | 0 (0.0%) | 0 (0.0%)
Building heating energy consumption | MWh/a (%) | 6 186 (22.7%) | 8 106 (23.7%) | 6 296 (18.9%) | 9 135 (25.0%)
Local and district heating consumption | MWh/a (%) | 5 397 (19.8%) | 7 421 (21.7%) | 5 834 (17.5%) | 7 363 (20.1%)
Ambient heat | MWh/a (%) | 789 (2.9%) | 686 (2.0%) | 462 (1.4%) | 1 772 (4.8%)
Electricity | MWh/a (%) | 2 296 (8.4%) | 5 096 (14.9%) | 6 361 (19.1%) | 8 516 (23.3%)
Electricity (heating/HP) | MWh/a (%) | 316 (1.2%) | 274 (0.8%) | 185 (0.6%) | 709 (1.9%)
Electricity (general)2 | MWh/a (%) | 1 980 (7.3%) | 4 821 (14.1%) | 6 176 (18.5%) | 7 807 (21.3%)
Share of renewable | MWh/a (%) | 19.7% | 26.9% | 8 831 (26.5%) | 12 715 (34.7%)
Share of fossil | MWh/a (%) | 78.07% | 69.3% | 22 971 (68.9%) | 21 853 (59.7%)
Share of waste heat/anergy | MWh/a (%) | 11.69% | 12% | 3 169 (9.5%) | 5 188 (14.2%)
1 The RFS (rentable floor space) is provided for information purposes only. The calculated ERA (m2ERAcalc) per year is the main reference point for the intensity key figures.
2 OCP including tenants’ electricity covered by the owner, and TCP including tenants’ electricity
OCP: owner-controlled properties; TCP: tenant-controlled properties
Balance sheet of greenhouse gas emissions and direct CO2 emissions
|  | 2021 | 2022 | 2023 | 2024
| Expressed in | OCP | OCP | OCP | OCP
CO2e emissions | t CO2e/a | 4454 | 5032 | 4892 | 4647
CO2e emissions int. | kg CO2e/m2ERA | 15.9 | 15.2 | 15 | 12.2
Scope 1 | t CO2e/a (%) | 3 880 (87.1%) | 4 264 (84.7%) | 4 292 (87.7%) | 3 883 (83.6%)
Heating oil | t CO2e/a (%) | - | - | 1 889 (38.6%) | 1 547 (33.3%)
Heating gas | t CO2e/a (%) | - | - | 2 403 (49.1%) | 2 336 (50.3%)
Biomass | t CO2e/a (%) | - | - | 0 (0.0%) | 0 (0.0%)
Scope 2 | t CO2e/a (%) | 574 (12.9%) | 768 (15.3%) | 600 (12.3%) | 764 (16.4%)
Local and district heating consumption | t CO2e/a (%) | - | - | 190 (3.9%) | 239 (5.1%)
Anergic emissions1 | t CO2e/a (%) | 311 (7.0%) | 451 (9.0%) | 350 (7.1%) | 443 (9.5%)
Electricity (heating/HP) | t CO2e/a (%) | - | - | 2 (0.0%) | 7 (0.1%)
Electricity (general)2 | t CO2e/a (%) | - | - | 59 (1.2%) | 75 (1.6%)
Direct S1 CO2 emissions | t CO2/a | 3866 | 4249 | 4277 | 3870
Direct S1 CO2 emissions int. | kg CO2/m2ERA | 13.8 | 12.9 | 13.1 | 10.1
1 Anergic CO2e emissions from burning of fossil waste (recorded under Scope 2)
2 OCP incl. tenants’ electricity covered by the owner
OCP: owner-controlled properties; TCP: tenant-controlled properties
Water
|  | 2021 | 2022 | 2023 | 2024
Total water use | m3 | 161488 | 241280 | 223403 | 239529
Water intensity | m3/m2ERA | 0.57659 | 0.8 | 0.7 | 0.6