## IFC
Swiss Prime Site Solutions Investment Fund Commercial
REIDA CO2e REPORT 2025
NOTES: BALANCE SHEET – ENTIRE PORTFOLIO «LOCATION-BASED»
Energy balance sheet
|  | 2022 | 2023 | 2024 | Peer BM* 2024
| Expressed in | OCP | OCP | OCP
# Total area of property | Number # | 13 | 16 | 15
# Relevant area of property | Number # | 13 | 16 | 15
Total area RFS1 | m2RFS | 56601 | 86815 | 85515
Relevant area RFS1 | m2RFS | 56601 | 86815 | 85515
Total area ERA1 | m2ERA | 64064 | 98138 | 96651
Relevant area ERA1 | m2ERA | 64064 | 98138 | 96651
Ratio of ERA/RFS |  | 1.13 | 1.13 | 1.13
Coverage level | ERA % | 100 | 100 | 100 | 94.9
Total energy consumption | MWh/a | 4195 | 5500 | 5965
Building total energy intensity | kWh/m2ERA | 65.5 | 56 | 61.7 | 82.5
Fuels | MWh/a (%) | 1 846 (44.0%) | 2 901 (52.8%) | 2 202 (36.9%)
Heating oil | MWh/a (%) | 258 (6.2%) | 203 (3.7%) | 153 (2.6%)
Heating gas | MWh/a (%) | 1 588 (37.9%) | 2 215 (40.3%) | 2 049 (34.3%)
Biomass | MWh/a (%) | 0 (0.0%) | 484 (8.8%) | 0 (0.0%)
Building heating energy consumption | MWh/a (%) | 1 420 (33.8%) | 711 (12.9%) | 1 573 (26.4%)
Local and district heating consumption | MWh/a (%) | 598 (14.3%) | 477 (8.7%) | 410 (6.9%)
Ambient heat | MWh/a (%) | 822 (19.6%) | 234 (4.3%) | 1 163 (19.5%)
Electricity | MWh/a (%) | 929 (22.1%) | 1 888 (34.3%) | 2 191 (36.7%)
Electricity (heating/HP) | MWh/a (%) | 329 (7.8%) | 94 (1.7%) | 465 (7.8%)
Electricity (general)2 | MWh/a (%) | 601 (14.3%) | 1 794 (32.6%) | 1 726 (28.9%)
Share of renewable | MWh/a (%) | 1 900 (45.3%) | 2 483 (45.1%) | 3 123 (52.3%) | 42%
Share of fossil | MWh/a (%) | 2 096 (50%) | 2 617 (47.6%) | 2 381 (39.9%)
Share of waste heat/anergy | MWh/a (%) | 1 042 (24.8%) | 407 (7.4%) | 1 313 (22.0%)
*Peer benchmark group: Commercial
1 The RFS (rentable floor space) is provided for information purposes only. The calculated ERA (m2ERAcalc) per year is the main reference point for the intensity key figures.
2 OCP including tenants’ electricity covered by the owner, and TCP including tenants’ electricity
OCP: owner-controlled properties; TCP: tenant-controlled properties
Balance sheet of greenhouse gas emissions and direct CO2 emissions
|  | 2022 | 2023 | 2024 | Peer BM* 2024
| Expressed in | OCP | OCP | OCP
CO2e emissions | t CO2e/a | 421 | 519 | 474
CO2e emissions int. | kg CO2e/m2ERA | 6.6 | 5.3 | 4.9 | 8.9
Scope 1 | t CO2e/a (%) | 354 (84.3%) | 456 (87.9%) | 412 (86.9%)
Heating oil | t CO2e/a (%) | - | 51 (9.8%) | 38 (8.1%)
Heating gas | t CO2e/a (%) | - | 404 (77.8%) | 373 (78.8%)
Biomass | t CO2e/a (%) | - | 1 (0.2%) | 0 (0.0%)
Scope 2 | t CO2e/a (%) | 66 (15.7%) | 63 (12.1%) | 62 (13.1%)
Local and district heating consumption | t CO2e/a (%) | - | 18 (3.6%) | 16 (3.3%)
Anergic emissions1 | t CO2e/a (%) | 31 (7.4%) | 26 (5.1%) | 25 (5.3%)
Electricity (heating/HP) | t CO2e/a (%) | - | 1 (0.2%) | 4 (0.9%)
Electricity (general)2 | t CO2e/a (%) | - | 17 (3.3%) | 17 (3.5%)
Direct S1 CO2 emissions | t CO2/a | 353 | 453 | 410
Direct S1 CO2 emissions int. | kg CO2/m2ERA | 5.5 | 4.6 | 4.2
*Peer benchmark group: Commercial
1 Anergic CO2e emissions from burning of fossil waste (recorded under Scope 2)
2 OCP incl. tenants’ electricity covered by the owner
OCP: owner-controlled properties; TCP: tenant-controlled properties
Water
|  | 2022 | 2023 | 2024
Total water use | m3 | 11602 | 18481 | 17456
Water intensity | m3/m2ERA | 0.2 | 0.2 | 0.2