## KPIs Geschäftsbericht
REIDA CO2e REPORT 2025
NOTES: BALANCE SHEET – ENTIRE PORTFOLIO «LOCATION-BASED»
STANDARDISED ENERGY BALANCE SHEET
IFC
|  | 2022 | 2023 | 2024
| Unit | OCP | OCP | OCP
# Total area of property | Number # | 13 | 16 | 15
# Relevant area of property | Number # | 13 | 16 | 15
Total area RFS1) | m2RFS | 56601 | 86815 | 85515
Relevant area RFS1) | m2RFS | 56601 | 86815 | 85515
Total area ERBA1) | m2 ERBA | 64064 | 98138 | 96651
Relevant area ERBA1) | m2 ERBA | 64064 | 98138 | 96651
Coverage level | ERBA % | 100 | 100 | 100
Energy consumption | MWh/a | 4195 | 5500 | 5965
Building total energy intensity | kWh/m2ERBA | 65.5 | 56 | 61.7 |  |  | 2022 |  | 2023
Fuels | MWh/a (%) | 1 846 (44%) | 2 901 (52.8%) | 2 202 (36.9%) | Fuels | MWh/a (%) | 1846 | 44% | 2901 | 52.75%
Heating oil | MWh/a (%) | 258 (6.2%) | 203 (3.7%) | 153 (2.6%) | Heating oil | MWh/a (%) | 258 | 6.15% | 203 | 3.691%
Heating gas | MWh/a (%) | 1 588 (37.9%) | 2 215 (40.3%) | 2 049 (34.3%) | Heating gas | MWh/a (%) | 1588 | 37.85% | 2215 | 40.27%
Biomass | MWh/a (%) | 0 (0.0%) | 484 (8.8%) | 0 (0.0%) | Biomass | MWh/a (%) | 0 | 0% | 484 | 8.8%
Building heating energy consumption | MWh/a (%) | 1 420 (33.8%) | 711 (12.9%) | 1 573 (26.4%) | Building heating energy consumption | MWh/a (%) | 1420 | 33.85% | 711 (12.9%)
Local and district heating | MWh/a (%) | 598 (14.3%) | 477 (8.7%) | 410 (6.9%) | Local and district heating | MWh/a (%) | 598 | 14.26% | 477 (8.7%)
Ambient heat | MWh/a (%) | 822 (19.6%) | 234 (4.3%) | 1 163 (19.5%) | Ambient heat | MWh/a (%) | 822 | 19.59% | 234 (4.3%)
Electricity | MWh/a (%) | 929 (22.1%) | 1 888 (34.3%) | 2 191 (36.7%) | Electricity | MWh/a (%) | 929 | 22.15% | 1 888 (34.3%)
Electricity (heating/HP) | MWh/a (%) | 329 (7.8%) | 94 (1.7%) | 465 (7.8%) | Electricity (heating/HP) | MWh/a (%) | 329 | 7.843% | 94 (1.7%)
Electricity (general)2) | MWh/a (%) | 601 (14.3%) | 1 794 (32.6%) | 1 726 (28.9%) | Electricity (general)2) | MWh/a (%) | 601 | 14.33% | 1 794 (32.6%)
Share renewable | MWh/a (%) | 1 900 (45.3%) | 2 483 (45.1%) | 3 123 (52.3%) |  |  | 4195 |  | 5500
Share fossil | MWh/a (%) | 2 096 (50.0%) | 2 617 (47.6%) | 2 381 (39.9%)
Share waste heat/anergy | MWh/a (%) | 1 042 (24.8%) | 407 (7.4%) | 1 313 (22.0%)
1) m2ERBAcalc per year is the reference point for the intensity key figures; the RFS is provided for information purposes only
2) for OCP, including tenants’ electricity covered by the owner, and for TCP, including tenants’ electricity
RFS: rentable floor space, ERBA: energy reference area, HP: heat pump
OCP: owner-controlled properties; TCP: tenant-controlled properties
Balance sheet of greenhouse gas emissions and direct total CO2 emissions
|  | 2022 | 2023 | 2024
| Unit | OCP | OCP | OCP
CO2e emissions | tCO2e/a | 421 | 519 | 474
CO2e emissions int. | kgCO2e/m2ERBA | 6.6 | 5.3 | 4.9
Scope 1 | tCO2e/a (%) | 354 (84.3%) | 456 (87.9%) | 412 (86.9%) | Scope 1 | tCO2e/a (%) | 354 | 84.29%
Heating oil | tCO2e/a (%) | - | 51 (9.8%) | 38 (8.1%) | Heating oil | tCO2e/a (%) | -
Heating gas | tCO2e/a (%) | - | 404 (77.8%) | 373 (78.8%) | Heating gas | tCO2e/a (%) | -
Biomass | tCO2e/a (%) | - | 1 (0.2%) | 0 (0.0%) | Biomass | tCO2e/a (%) | -
Scope 2 | tCO2e/a (%) | 66 (15.7%) | 63 (12.1%) | 62 (13.1%) | Scope 2 | tCO2e/a (%) | 66 | 15.71%
Local and district heating | tCO2e/a (%) | - | 18 (3.6%) | 16 (3.3%) | Local and district heating | tCO2e/a (%) | -
Anergic emissions3) | tCO2e/a (%) | 31 (7.4%) | 26 (5.1%) | 25 (5.3%) | Anergic emissions3) | tCO2e/a (%) | 31 | 7.381%
Electricity (heating/HP) | tCO2e/a (%) | - | 1 (0.2%) | 4 (0.9%) | Electricity (heating/HP) | tCO2e/a (%) | -
Electricity (general)4) | tCO2e/a (%) | - | 17 (3.3%) | 17 (3.5%) | Electricity (general)4) | tCO2e/a (%) | -
Direct (Scope 1) CO2 emissions5) | tCO2/a | 353 | 453 | 410 |  |  | 420
Direct (Scope 1) CO2 emissions int.5) | kgCO2/m2ERBA | 5.5 | 4.6 | 4.2
3) Heat fossil emissions from waste incineration (recognition under Scope 2)
4) OCP including tenants’ electricity covered by the owner
5) Direct total CO2 emissions: Scope 1 CO2 emissions excluding other greenhouse gases
CO2e: CO2 equivalent, HP: heat pump
OCP: owner-controlled properties; TCP: tenant-controlled properties
Water
|  | 2022 | 2023 | 2024
Total water use | m3 | 11602 | 18481 | 17456
Water intensity | m3/m2ERBA | 0.2 | 0.2 | 0.2